## ScoreCard
Construction Site Safety Walk Checklist (Field Form)
Date | 2026-02-15 |  | Insp #. | 5 | Summary (auto)
Project/Site |  |  |  |  | Total Yes | 77
[5 empty] | Total No | 15
[5 empty] | Total N/A | 1
[5 empty] | Safety Score % | 85.67%
Item | Yes | No | N/A | Notes | Score | Inspection Flag
1. General Site Conditions
Site access controlled (fencing/gates/sign-in) | [5 empty] | INCOMPLETE
Safety signage posted (PPE, hazards, traffic) |  | X |  |  | 0 | COMPLETE
Subcontractors Signing in |  | X |  |  | 0 | COMPLETE
Walkways/egress clear and maintained |  | X |  |  | 0 | COMPLETE
Lighting adequate for work areas | X |  |  |  | 1 | COMPLETE
Housekeeping acceptable (debris managed) | X |  |  |  | 1 | COMPLETE
Stairs/ramps/temporary steps stable and clear | X | X |  |  |  | MULTI
Waste disposal bins available and used | X |  |  |  | 1 | COMPLETE
Sharp protrusions/rebar capped or protected |  |  | X |  |  | COMPLETE
OSHA 300A (2/1-4/30) and Worker's Comp Information Posted | X |  |  |  | 1 | COMPLETE
2. Emergency & Fire Preparedness
Emergency contact board posted and current | X |  |  |  | 1 | COMPLETE
First aid kit available and stocked |  | X |  |  | 0 | COMPLETE
Fire extinguishers staged, accessible, inspected |  | X |  |  | 0 | COMPLETE
Emergency routes/assembly point communicated | X |  |  |  | 1 | COMPLETE
AED available (if required) and location known | X |  |  |  | 1 | COMPLETE
3. PPE & Worker Compliance
Hard hats worn in required areas | X |  |  |  | 1 | COMPLETE
Safety glasses worn (side shields) in required areas |  | X |  |  | 0 | COMPLETE
Hi-vis worn where required |  | X |  |  | 0 | COMPLETE
Gloves used appropriately for tasks |  | X |  |  | 0 | COMPLETE
Hearing protection used where needed | X |  |  |  | 1 | COMPLETE
Respiratory protection used where required (dust/fumes) | X |  |  |  | 1 | COMPLETE
PPE condition acceptable (no cracks/tears) | X |  |  |  | 1 | COMPLETE
Safe guards in place (guards on grinders) | X |  |  |  | 1 | COMPLETE
4. Fall Protection & Openings
Leading edges protected (guardrail/cable/controlled access) | X |  |  |  | 1 | COMPLETE
Floor openings covered, secured, labeled | X |  |  |  | 1 | COMPLETE
Shafts/stairwells protected (guardrails/barricades) | X |  |  |  | 1 | COMPLETE
Fall Protection: Harness/lanyard inspected and used correctly where required | X |  |  |  | 1 | COMPLETE
Tie-off to approved anchor points only | X |  |  |  | 1 | COMPLETE
Aerial/Scissor lifts: proper tie-in and gate use | X |  |  |  | 1 | COMPLETE
Scaffold platforms fully decked with same material and protected | X |  |  |  | 1 | COMPLETE
Scaffold Tags in place and signed off daily | X | X |  |  |  | MULTI
Tools/materials secured at height (dropped object prevention) |  | X |  |  | 0 | COMPLETE
Toe boards installed where required |  | X |  |  | 0 | COMPLETE
5. Ladders & Scaffolds
Ladders in good condition; rated for use | X |  |  |  | 1 | COMPLETE
Ladders set correctly (4:1), secured, stable footing |  | X |  |  | 0 | COMPLETE
Ladders extend 3 ft above landing/tied-off as required | X |  |  |  | 1 | COMPLETE
A-frame ladders fully opened before climbing | X |  |  |  | 1 | COMPLETE
No standing on top step; 3 points of contact | X |  |  |  | 1 | COMPLETE
No Aluminum ladders on site |  | X |  |  | 0 | COMPLETE
Scaffold base plates/leveling; no improvised blocks | X |  |  |  | 1 | COMPLETE
Scaffold guardrails/toe boards installed |  | X |  |  | 0 | COMPLETE
Scaffold access provided (ladder/stairs) | X |  |  |  | 1 | COMPLETE
Scaffold tags/inspection current (if used) | X |  |  |  | 1 | COMPLETE
Baker scaffolding erected with casters or feet in place | X |  |  |  | 1 | COMPLETE
If scaffolding is on casters; wheels locked before employee climbs | X |  |  |  | 1 | COMPLETE
6. Electrical & Temporary Power
GFCI protection used (temp power, wet areas) | X |  |  |  | 1 | COMPLETE
16 Guage cord or heavier used | X |  |  |  | 1 | COMPLETE
Extension cords intact (no cuts/splices) | X |  |  |  | 1 | COMPLETE
Cords managed (not through doorways/pinch points) | X |  |  |  | 1 | COMPLETE
Temporary panels labeled; covers in place | X |  |  |  | 1 | COMPLETE
Open junction boxes covered; no exposed conductors | X |  |  |  | 1 | COMPLETE
LOTO used where required; energized work controlled | X |  |  |  | 1 | COMPLETE
Wet conditions addressed (cord elevation, equipment rated) | X |  |  |  | 1 | COMPLETE
7. Hot Work & Fire Risk Controls
Hot work permit posted (if required) | X |  |  |  | 1 | COMPLETE
Fire watch assigned and equipped | X |  |  |  | 1 | COMPLETE
Combustibles cleared or protected (blankets/shields) | X |  |  |  | 1 | COMPLETE
Fire extinguisher staged at hot work location | X |  |  |  | 1 | COMPLETE
Gas cylinders secured upright with caps/valves protected | X |  |  |  | 1 | COMPLETE
Post-work fire watch completed (per policy) | X |  |  |  | 1 | COMPLETE
8. Material Handling & Storage
Materials stacked stable; no leaning/over stacking | X |  |  |  | 1 | COMPLETE
Stored to prevent collapse/roll (chocks, dunnage) | X |  |  |  | 1 | COMPLETE
Aisles kept clear; access maintained | X |  |  |  | 1 | COMPLETE
Flammables stored in approved containers/cabinets | X |  |  |  | 1 | COMPLETE
Cylinders separated/secured (oxygen/acetylene) | X |  |  |  | 1 | COMPLETE
Overhead storage hazards controlled/excluded | X |  |  |  | 1 | COMPLETE
9. Equipment & Mobile Plant
Operators trained/certified where required | X |  |  |  | 1 | COMPLETE
Daily equipment inspections completed (forklift, lifts, etc.) | X |  |  |  | 1 | COMPLETE
Seatbelts used; guards in place | X |  |  |  | 1 | COMPLETE
Back-up alarms/visual warnings functioning | X |  |  |  | 1 | COMPLETE
Spotters used where required; blind spots managed | X |  |  |  | 1 | COMPLETE
Swing radius/exclusion zones barricaded | X |  |  |  | 1 | COMPLETE
No one under suspended loads; rigging inspected | X |  |  |  | 1 | COMPLETE
Qualified Rigger/Signal Person Used | X |  |  |  | 1 | COMPLETE
Critical Lift Plans Established/Communicated (as required) | X |  |  |  | 1 | COMPLETE
10. Excavations & Ground Disturbance
Utility locate completed; markings visible | X |  |  |  | 1 | COMPLETE
Protective system used (sloping/shoring/trench box for >5) | X |  |  |  | 1 | COMPLETE
Spoil piles set back (≥2 ft) | X |  |  |  | 1 | COMPLETE
Safe access/egress (ladder/ramps) provided | X |  |  |  | 1 | COMPLETE
Barricades installed around open excavations | X |  |  |  | 1 | COMPLETE
Daily competent person inspection documented | X |  |  |  | 1 | COMPLETE
11. Environmental & Health
Dust control implemented (wet methods/vacuum) | X |  |  |  | 1 | COMPLETE
Silica controls followed (if applicable) | X |  |  |  | 1 | COMPLETE
Noise exposure managed; hearing protection available | X |  |  |  | 1 | COMPLETE
Heat/cold stress controls (water, shade, breaks) | X |  |  |  | 1 | COMPLETE
Drinking water available and clean | X |  |  |  | 1 | COMPLETE
Chemical containers labeled; SDS accessible | X |  |  |  | 1 | COMPLETE
Ventilation used for fumes/solvents | X |  |  |  | 1 | COMPLETE
12. Behavioral / Work Practices
Pre-task planning / JHA conducted for active tasks (if applicable) | X |  |  |  | 1 | COMPLETE
Workers following SOPs; no unsafe shortcuts observed | X |  |  |  | 1 | COMPLETE
Communication effective (hand signals, radios as needed) | X |  |  |  | 1 | COMPLETE
Supervision present for high-risk work | X |  |  |  | 1 | COMPLETE
Near-misses/hazards being reported promptly | X |  |  |  | 1 | COMPLETE
Section Scores (auto) — copy into Inspection_Log
Section | Yes | No | N/A | Score % | Incomplete Inspection Items
1. General Site Conditions | 3 | 3 | 1 | 50% | 2 incomplete inspection items
2. Emergency & Fire Preparedness | 3 | 2 | 0 | 60%
3. PPE & Worker Compliance | 4 | 3 | 0 | 57.14%
4. Fall Protection & Openings | 7 | 2 | 0 | 77.78% | 1 incomplete inspection items
5. Ladders & Scaffolds | 7 | 3 | 0 | 70%
6. Electrical & Temporary Power | 8 | 0 | 0 | 100%
7. Hot Work & Fire Risk Controls | 6 | 0 | 0 | 100%
8. Material Handling & Storage | 6 | 0 | 0 | 100%
9. Equipment & Mobile Plant | 7 | 0 | 0 | 100%
10. Excavations & Ground Disturbance | 6 | 0 | 0 | 100%
11. Environmental & Health | 7 | 0 | 0 | 100%
12. Behavioral / Work Practices | 5 | 0 | 0 | 100%
Key Findings / Corrective Actions (free text)

## ScoringWeights
Num | Section | Weight | Rationale (Risk to Life / Serious Injury)
1 | 1. General Site Conditions | 3% | Administrative / low-acute risk
2 | 2. Emergency & Fire Preparedness | 3% | Response capability (mitigates severity)
3 | 3. PPE & Worker Compliance | 8% | Foundational barrier to multiple hazards
4 | 4. Fall Protection & Openings | 18% | Highest fatality cause (falls)
5 | 5. Ladders & Scaffolds | 14% | Fall-related (second-highest exposure)
6 | 6. Electrical & Temporary Power | 10% | Electrocution risk
7 | 7. Hot Work & Fire Risk Controls | 7% | Fire / explosion potential
8 | 8. Material Handling & Storage | 4% | Struck-by / collapse
9 | 9. Equipment & Mobile Plant | 12% | Struck-by / crushing (mobile equipment)
10 | 10. Excavations & Ground Disturbance | 12% | Cave-in / burial (caught-in/between)
11 | 11. Environmental & Health | 2% | Primarily chronic / lower acute fatality
12 | 12. Behavioral / Work Practices | 7% | Human-factor prevention across all areas
| Total Weight Allocation: | 100%

## ParserMeta
Field | Value | Purpose
TemplateVersion | SafetyChecklist_v1 | Explicit template/version marker for downstream parsing.
ParserContractVersion | parse-first-2026-04 | Workbook-side parser contract revision.
InspectionDateRaw | 2026-02-15 | Direct mirror of ScoreCard!B3.
InspectionNumberRaw | 5 | Direct mirror of ScoreCard!E3.
ProjectSiteRaw | 0 | Direct mirror of ScoreCard!B4.
TotalYes | 77 | Direct mirror of ScoreCard!G4.
TotalNo | 15 | Direct mirror of ScoreCard!G5.
TotalNA | 1 | Direct mirror of ScoreCard!G6.
SafetyScore | 85.67% | Direct mirror of ScoreCard!G7.
ReportingWeekStart | 2026-02-15 | Derived Monday date from the inspection date.
ReportingWeekEnd | 2026-02-19 | Derived Friday date from the inspection date.
ReportingPeriodLabel | February 15 - February 19, 2026 | Readable Monday–Friday reporting-period label.
KeyFindingsNormalized | #NAME? | Concatenated free-text findings block from the visible worksheet.
Formulas:
Value = IF([Value, row above]="","",[Value, row above]+4)