## Sheet1
Job:
Main Permit # -
List of Inspections Required
Inspection | Code | Date Called In | Result | Comment | Verified Online
Building - Additions/Alterations - (Permit #: )
NOC/Recorded
Fire Preliminary
Civil Preliminary
Landscape Preliminary
Elevation Certification
Building Footer & ISO pads
Remaining Footers at DDCV
Slab
Filled Cell, Window Sills/Coulmns (1st lift 5')
Filled Cell continued
Tie Beams & Columns
Bar Joists
Column Steel
7 Exterior Column Foundations
7 Exterior Column
Parapit Tie Beam
Waterproofing
Door & Window Bucks
Patio Steel
Storefront
Truss
Wall Sheathing
Window Buck
Window
Wire Lath
Acoustical Ceiling Grid
Job Check
Drywall - Walls
Drywall - Ceiling
Framing - Walls
Framing - Ceiling
Fire Penetration
Insulation
Fire Final
Building Final
Low Voltage Data Lines - (Permit #: )
L/V Phone/Data Rough
L/V Phone/Data Final
Low Voltage Data Lines - (Permit #: )
L/V Misc. Rough - Speakers
L/V Misc. Final - Speakers
Low Voltage TV - (Permit #: )
L/V Miscellaneous Rough
L/V Miscellaneous Final
Fire Alarm - (Permit #: )
Rough
Wall Rough
Job Check
Ceiling Rough
Electrical Final
Fire Final
Fire Permit - Sprinkler - (Permit #: )
Fire Rough Sprinkler System
Fire Final Sprinkler System
Fire Permit -
Fire Department Final
High Voltage Electrical - (Permit #: )
30 Day Temp
Underground
Footer Steel Bonding
Temporary Service
Slab
Job Check
Electrical Wall Rough
Electrical Ceiling Rough
ACT Ceiling Rough
Electrical Final
Mechanical - (Permit #: )
Mechanical - Rough - Duct Seal
Mechanical - Rough - Cover Up
Mechanical - Final
Plumbing - (Permit #: )
Above Ground Rough
Hanger
Sewer Rough
Water Service Rough
Plumbing Topout
Plumbing Underground Rough
Plumbing Final
Tree Removal - (Permit #: )
Landscape Job Check
Landscape Final
Lawn Irrigation - (Permit #: )
Rough
Final
Storm Drainage - (Permit #: )
Rough
Final
Site Wall/Fencing - (Permit #: )
Foundation
Landscape Final
Zoning Final
Building Final
Dumpster Enclosure - (Permit #: )
Column Steel
Foundation
Slab
Tie Beam
Landscape Final
Zoning Final
Building Final
Outside Bar/Gazebo - (Permit #: )
Bar Joists
Column Steel
Foundation
Framing
Grade Beam
Job Check
Roof Sheathing
Drywall Screw
Slab
Patio Steel
Tie Beam
Truss
Wire Lath
Fire Final
Landscape Final
Zoning Final
Building Final
Exterior light poles - (Permit #: )
Submit Sealed Pole Engineering and Fixtures EPA
Below Grade Rough
Rough
Slab
Job Check
Zoning Final
Electrical Final
Canvas Awnings - (Permit #: )
Rough
Final
Patio Pavers - (Permit #: )
Rough
Final
General Landscaping - (Permit #: )
Final
Asphalt Paving - (Permit #: )
Asphalt Paving Subgrade
Asphalt Paving Rock
Zoning Final
Landscape Final
Engineering Rough
Engineering Final
Building Final
Roofing - Building - (Permit #: )
Job Check
Daily Flat Roof in Progress
Building Final
Roofing - Gazebo/Bar - (Permit #: )
Mop on for Sloped Roof
Daily Flat Roof in Progress
Tin Cap
Building Final

## Sheet2
Pass
Fail
N/A